## Evaluation
2027 capacity RFO: evaluation under RA-3 (Rev. 4)
Planning year 2027, weather years 2016 to 2025, value of lost load USD 20,000 per MWh
2027 fleet expected unserved energy (MWh a year) |  |  |  | 9500
Offer | Counterparty | Resource | Capacity (MW) | 2027 capacity payment (USD M) | EUE removed (MWh a year) | Net value (USD M) | Rank
Ketchum Ridge | Halvard Energy Partners LLC | Gas peaker, Northgate IT | 300 | 23.2 | 0 | -23 | 4
Red Willow import | Red Willow Hydro Authority | Firm import, Red Willow tie | 300 | 35.8 | 7100 | 106 | 1
Sandhill Draw | Sandhill Draw Wind LLC | Wind | 450 | 28.6 | 2000 | 12 | 2
Coulee Flats | Coulee Flats Solar LLC | Solar PV | 500 | 25.8 | 400 | -17 | 3
Award | Red Willow import

## Member allocation
2025 member figures for the cost allocation (MS-12)
Member | 2025 net energy delivered (MWh) | 2025 12-CP average (MW)
Bluestem Valley Electric | 1881448 | 317.2
Copper Ridge REA | 996183 | 167.2
Lone Elm Cooperative | 1452327 | 245.6
Marais Electric | 1309755 | 224.8
Old Mill Power Association | 856281 | 148.2
Sweetgrass Rural Electric | 1770626 | 293.3
Tamarack Electric Cooperative | 1433628 | 240
Wapsi Prairie Electric | 1320285 | 227.5

## Notes
Sources: weather_years_2027_hourly.csv (2019 delivered in kW, converted), outage_event_log_2016_2025.csv (latest revision of each event, forced events only), fleet_list_2027.xlsx (Sandoval 1 out), red_willow_tie_outages_2016_2025.csv, offer_profiles_2016_2025.parquet, the RFO offers sheet.
Hours aligned on UTC: the planning table by hour ending in local prevailing time (the autumn 2* hour is the standard-time 01:00), the event log in UTC, the tie log in CST/CDT, the profiles by hour beginning in UTC.
Ketchum Ridge counted in each hour at 300 MW times the share of the ten Northgate IT peakers' capability available in that hour. Every hour with a shortfall in 2016 to 2025 fell inside a Northgate curtailment, when all ten were out on lack of fuel (cause 9130), so the offer removes no unserved energy.
Red Willow import counted at 300 MW in every hour the tie is in service; wind and solar at their modelled output for the hour.
Member figures: highest version of each interval; delivered less received; multipliers corrected to the field's current transformer ratios from the date of each replacement; the meters found on standard time moved forward an hour from the spring change to their reset for the coincident peaks; the delivery point that moved from Lone Elm to Marais Electric is Marais's from 1 July 2025.