## Change decision
Screen change adopted at the 0.030 cutoff for the quarter from 1 July 2027
KVAL-07 4.1 on the parallel run of receipts 1 March to 31 May 2027, validation extract 21 June 2027.
Decision | Replace the screen in service at the 0.030 cutoff
Increase at that cutoff | 16 confirmed contamination events, 4.07 percentage points, 95 per cent interval clear of zero
False-call rate | 1.36 per cent against 1.67 per cent for the screen in service
Comparison | 5,839 specimens, of which 393 confirmed contamination events and 5,446 panel-clean; the screen in service detects 292 of the events and flags 91 of the clean specimens
Cutoff | Events detected | Increase, specimens | Increase, percentage points | False-call rate, per cent | Increase established at 95 per cent | False-call rate not higher
0.050 | 294 | 2 | 0.51 | 1.12 | No | Yes
0.030 | 308 | 16 | 4.07 | 1.36 | Yes | Yes
0.020 | 310 | 18 | 4.58 | 1.47 | Yes | Yes
0.015 | 319 | 27 | 6.87 | 1.56 | Yes | Yes
0.010 | 326 | 34 | 8.65 | 1.91 | Yes | No
Screen in service: 292 of 393 events detected, 91 of 5,446 panel-clean specimens flagged (1.67 per cent).
Source: qc_screen_calls_gsqa and gsqb, mixture_fraction_rerun_v34, identity_panel_register_2027.

## Panel deliveries
Identity panel verdicts against the partner laboratory's weekly reports
April and May 2027 reports, register as extracted 21 June 2027.
Report | Week ending | Distinct vials the results came from | Excess of results issued over vials
BA-2027-W13 | 2027-04-02 | 575 | 14
BA-2027-W14 | 2027-04-09 | 596 | 12
BA-2027-W15 | 2027-04-16 | 601 | 12
BA-2027-W16 | 2027-04-23 | 628 | 13
BA-2027-W17 | 2027-04-30 | 563 | 14
BA-2027-W18 | 2027-05-07 | 541 | 13
BA-2027-W19 | 2027-05-14 | 555 | 15
BA-2027-W20 | 2027-05-21 | 519 | 23
BA-2027-W21 | 2027-05-28 | 538 | 26
The report's own total counts results issued. Vials are counted on the biobank reference in specimen_request_crosswalk.tsv, because one vial can be booked in under more than one accession.
Source: identity_panel_register_2027 against identity_panel_weekly_reports_2027.

## Baseline, screen in service
Screen in service: flagged specimens per thousand specimens released
The twelve reporting months to February 2027, from the quality-control warehouse extract.
Reporting month | Specimens released, counted once each | Flagged | Per thousand specimens released
2026-03 | 2243 | 35 | 15.6
2026-04 | 2353 | 36 | 15.3
2026-05 | 2302 | 32 | 13.9
2026-06 | 2549 | 38 | 14.9
2026-07 | 2468 | 35 | 14.2
2026-08 | 2582 | 39 | 15.1
2026-09 | 2387 | 42 | 17.6
2026-10 | 2348 | 46 | 19.6
2026-11 | 2437 | 48 | 19.7
2026-12 | 2288 | 43 | 18.8
2027-01 | 2271 | 47 | 20.7
2027-02 | 2173 | 35 | 16.1
Source: qc_screen_history_2026-02-15_2027-02-28 and the reporting pack's release_volumes_monthly_2026-03_2027-02.

## Dilution panel
Analytical sensitivity: recovery by prepared level, 2027Q1 panel
Nine replicates at each level, prepared 11 March 2027 from stock NS-27-04; voided replicates are not counted.
Level | Prepared level, fraction | Replicates reported | Median recovery of the prepared level | Replicates within a fifth of it
L1 | 0.0041 | 9 | 0.878 | 7
L2 | 0.0163 | 9 | 0.865 | 7
L3 | 0.0629 | 9 | 1.027 | 6
Source: dilution_panel_2027q1, prepared levels against replicate results.

## Notes
Validation file extract, KVAL-07 issue 4, section 5.1
Prepared by the screening lead for the laboratory quality review of 30 June 2027.
The comparison is the specimens KVAL-07 3.2 describes: an accepted read, a mixture fraction on the accepted read set, and a panel verdict of MIXED or CONCORDANT reported on or before 21 June 2027.
Specimens received under a contract agreement are outside the validation scope (3.1).
A confirmed contamination event is a specimen whose panel verdict is MIXED (3.3).
Increases are stated in percentage points of the 393 confirmed contamination events.
False-call rates are stated on the 5446 panel-clean specimens of the comparison (3.5).
Verdicts reported after the extract date are carried into the next parallel run (5.2).