## Setting 2028
Run the 4.0 setting in 2028: 18 drift alerts a year against the 28 visits the field plan leaves
QC-02 v4 section 7: the most sensitive setting whose drift alerts in the year fit the plan's visits, planned on the 2025 to 2027 record.
Setting | Drift alerts a year in 2028 | Re-run alerts, 2025-27 | Drifts cut short, 2025-27 | Alerts, 2025-27 | Within the 28 visits
3.0 | 69 | 197 | 10 | 207 | No
3.5 | 33 | 69 | 30 | 99 | No
4.0 | 18 | 21 | 33 | 54 | Yes | Run in 2028
4.5 | 14 | 8 | 34 | 42 | Yes
Re-run alerts: the alerts the quality control raises at the 131 stations it keeps in 2028 when sections 4, 5 and 8 are re-run on the 2025 to 2027 anomalies with each estimate drawn from those stations, against the limits the January configuration sets from the recorded statistic. Drifts cut short: the 35 drifts the sensor history shows repaired at drift-alert visits to kept stations, less those the re-run alerted at the setting before the repair; each would have kept growing until the setting's limit raised its alert. A year: the three years' alerts divided by three.

## Field visits 2027
Field visits in 2027 by district
Visits by the day the technician was at the station: the old contractor's closed orders by their visit date, the new contractor's by the first day its technician read the station's sensor there while the order was open.
District | Drift-alert visits | Days their alerts waited (total) | Breakdown visits at the stations kept in 2028
Cinco Villas | 3 | 9 | 14
Ribera Alta del Ebro | 6 | 25 | 15
Valdejalón | 7 | 26 | 20
Hoya de Huesca | 5 | 25 | 14
Monegros | 9 | 34 | 23
Somontano de Barbastro | 2 | 4 | 12
Cinca Medio | 3 | 8 | 12
Bajo Cinca | 5 | 16 | 5
Network | 40 | 147 | 115
Drift-alert visits: every 2027 visit made for a quality-control drift alert, including alerts answered at the station's spring campaign visit and visits whose readings went in under the station's previous order. A spare sensor checked at the workshop (the ice point and 40 degrees, outside the range the station's logger recorded that day) is not a visit, nor is an order closed with a visit date but no technician at the station. Days waited: from the alert's day in the quality control's export to the visit. Breakdown visits: the old contractor's closed breakdown orders and the new contractor's correctives that answered no alert; a corrective closed with no technician at the station was reset remotely.

## Notes
As of | 5 January 2028, for the configuration loaded on 15 January 2028.
Population | The 131 stations the network runs in 2028 (the register without the 17 stations whose closure is 31 December 2027).
Limits | QC-02 section 6: the setting times the standard deviation (n - 1) of each station's drift statistic as the quality control recorded it over 2025 to 2027.
Why the record undercounts | Every drift a 3.0 alert found was set right within days of the alert, before a wider limit could raise it; a drift keeps growing until a technician sets the sensor right, so under a wider setting each would have raised that setting's alert later, once.
Budget | The field plan 2028 leaves 28 visits for drift alerts.